## Overview
Vietnam
Area | 310070 km²
Generated by | Global Solar Atlas
Map link | https://globalsolaratlas.info/map?r=VNM
Note | The regional statistics of solar resource and PVOUT are calculated from long-term averages based on the period from 1994/1999/2007 (depending on the region) to 2018. The statistics were prepared for PV study.

## Map_data
Map data
Specific photovoltaic power output | PVOUT | 2.59 - 4.40 | kWh/kWp
Direct normal irradiation | DNI | 1.36 - 4.51 | kWh/m²
Global horizontal irradiation | GHI | 3.16 - 5.52 | kWh/m²
Diffuse horizontal irradiation | DIF | 2.06 - 2.53 | kWh/m²
Global tilted irradiation at optimum angle | GTI_opta | 3.21 - 5.62 | kWh/m²
Air temperature | TEMP | 14.9 - 28.2 | °C
Optimum tilt of PV modules | OPTA | 7 - 22 | °
Terrain elevation | ELE | 0 - 3143 | m

## PVOUT_stats
Specific photovoltaic power output
Statistics
Average | 3.44 | kWh/kWp
Maximum | 4.4 | kWh/kWp
Percentile 90 | 4.07 | kWh/kWp
Percentile 75 | 3.91 | kWh/kWp
Percentile 50 (Median) | 3.4 | kWh/kWp
Percentile 25 | 2.96 | kWh/kWp
Percentile 10 | 2.81 | kWh/kWp
Minimum | 2.59 | kWh/kWp

## PVOUT_dist
Specific photovoltaic power output
Distribution
From [kWh/kWp] | To [kWh/kWp] | Percent [%]
2.2 | 2.4 | 0.0001
2.4 | 2.6 | 0.0057
2.6 | 2.8 | 0.0882
2.8 | 3 | 0.1898
3 | 3.2 | 0.1251
3.2 | 3.4 | 0.0909
3.4 | 3.6 | 0.0658
3.6 | 3.8 | 0.0944
3.8 | 4 | 0.1663
4 | 4.2 | 0.152
4.2 | 4.4 | 0.0166
4.4 | 4.6 | 0.0052

## PVOUT_cdf
Specific photovoltaic power output
Cumulative distribution function
From [kWh/kWp] | To [kWh/kWp] | Percent [%]
2.35 | 2.4 | 0.0001
2.4 | 2.45 | 0.0003
2.45 | 2.5 | 0.001
2.5 | 2.55 | 0.0025
2.55 | 2.6 | 0.0058
2.6 | 2.65 | 0.0126
2.65 | 2.7 | 0.0251
2.7 | 2.75 | 0.0504
2.75 | 2.8 | 0.094
2.8 | 2.85 | 0.1403
2.85 | 2.9 | 0.1788
2.9 | 2.95 | 0.2349
2.95 | 3 | 0.2838
3 | 3.05 | 0.3248
3.05 | 3.1 | 0.3625
3.1 | 3.15 | 0.3884
3.15 | 3.2 | 0.4088
3.2 | 3.25 | 0.4305
3.25 | 3.3 | 0.4526
3.3 | 3.35 | 0.4768
3.35 | 3.4 | 0.4998
3.4 | 3.45 | 0.5208
3.45 | 3.5 | 0.5396
3.5 | 3.55 | 0.5539
3.55 | 3.6 | 0.5656
3.6 | 3.65 | 0.5778
3.65 | 3.7 | 0.6005
3.7 | 3.75 | 0.6319
3.75 | 3.8 | 0.6599
3.8 | 3.85 | 0.6913
3.85 | 3.9 | 0.7414
3.9 | 3.95 | 0.7816
4.1 | 4 | 0.8263
4 | 4.05 | 0.877
4.05 | 4.1 | 0.9309
4.1 | 4.15 | 0.9638
4.15 | 4.2 | 0.9783
4.2 | 4.25 | 0.9841
4.25 | 4.3 | 0.9886
4.3 | 4.35 | 0.9921
4.35 | 4.4 | 0.9948
4.4 | 4.45 | 0.9976
4.45 | 4.5 | 0.9991
4.5 | 4.55 | 0.9999
4.55 | 4.6 | 1
4.6 | 4.65 | 1

## DNI_stats
Direct normal irradiation
Statistics
Average | 2.67 | kWh/m²
Maximum | 4.51 | kWh/m²
Percentile 90 | 3.69 | kWh/m²
Percentile 75 | 3.43 | kWh/m²
Percentile 50 (Median) | 2.59 | kWh/m²
Percentile 25 | 1.9 | kWh/m²
Percentile 10 | 1.63 | kWh/m²
Minimum | 1.36 | kWh/m²

## DNI_dist
Direct normal irradiation
Distribution
From [kWh/m²] | To [kWh/m²] | Percent [%]
1 | 1.2 | 0.0002
1.2 | 1.4 | 0.008
1.4 | 1.6 | 0.0681
1.6 | 1.8 | 0.124
1.8 | 2 | 0.0968
2 | 2.2 | 0.1021
2.2 | 2.4 | 0.0646
2.4 | 2.6 | 0.0381
2.6 | 2.8 | 0.0281
2.8 | 3 | 0.0409
3 | 3.2 | 0.0724
3.2 | 3.4 | 0.0932
3.4 | 3.6 | 0.1051
3.6 | 3.8 | 0.1026
3.8 | 4 | 0.0287
4 | 4.2 | 0.0116
4.2 | 4.4 | 0.0077
4.4 | 4.6 | 0.0045
4.6 | 4.8 | 0.003
4.8 | 5 | 0.0002

## DNI_cdf
Direct normal irradiation
Cumulative distribution function
From [kWh/m²] | To [kWh/m²] | Percent [%]
1.15 | 1.2 | 0.0002
1.2 | 1.25 | 0.0007
1.25 | 1.3 | 0.0019
1.3 | 1.35 | 0.0041
1.35 | 1.4 | 0.0082
1.4 | 1.45 | 0.0154
1.45 | 1.5 | 0.0281
1.5 | 1.55 | 0.0478
1.55 | 1.6 | 0.0763
1.6 | 1.65 | 0.1135
1.65 | 1.7 | 0.1414
1.7 | 1.75 | 0.1692
1.75 | 1.8 | 0.2004
1.8 | 1.85 | 0.2277
1.85 | 1.9 | 0.2508
1.9 | 1.95 | 0.2716
1.95 | 2 | 0.2971
2 | 2.05 | 0.326
2.05 | 2.1 | 0.3565
2.1 | 2.15 | 0.3783
2.15 | 2.2 | 0.3992
2.2 | 2.25 | 0.4173
2.25 | 2.3 | 0.4341
2.3 | 2.35 | 0.45
2.35 | 2.4 | 0.4638
2.4 | 2.45 | 0.4755
2.45 | 2.5 | 0.4856
2.5 | 2.55 | 0.494
2.55 | 2.6 | 0.5019
2.6 | 2.65 | 0.5085
2.65 | 2.7 | 0.5152
2.7 | 2.75 | 0.5225
2.9 | 2.8 | 0.53
2.8 | 2.85 | 0.5377
2.85 | 2.9 | 0.547
2.9 | 2.95 | 0.5581
2.95 | 3 | 0.5709
3 | 3.05 | 0.5879
3.05 | 3.1 | 0.6056
3.1 | 3.15 | 0.6208
3.15 | 3.2 | 0.6433
3.2 | 3.25 | 0.6695
3.25 | 3.3 | 0.6925
3.3 | 3.35 | 0.7136
3.35 | 3.4 | 0.7366
3.4 | 3.45 | 0.761
3.45 | 3.5 | 0.7863
3.5 | 3.55 | 0.8149
3.55 | 3.6 | 0.8417
3.6 | 3.65 | 0.8727
3.65 | 3.7 | 0.9042
3.7 | 3.75 | 0.928
3.75 | 3.8 | 0.9443
3.8 | 3.85 | 0.9553
3.85 | 3.9 | 0.9635
3.9 | 3.95 | 0.9689
3.95 | 4 | 0.973
4 | 4.05 | 0.9764
4.05 | 4.1 | 0.9794
4.1 | 4.15 | 0.982
4.15 | 4.2 | 0.9846
4.2 | 4.25 | 0.987
4.25 | 4.3 | 0.989
4.3 | 4.35 | 0.9907
4.35 | 4.4 | 0.9923
4.4 | 4.45 | 0.9937
4.45 | 4.5 | 0.9949
4.5 | 4.55 | 0.9958
4.55 | 4.6 | 0.9968
4.6 | 4.65 | 0.998
4.65 | 4.7 | 0.999
4.7 | 4.75 | 0.9995
4.75 | 4.8 | 0.9998
4.8 | 4.85 | 1
4.85 | 4.9 | 1
4.9 | 4.95 | 1

## GHI_stats
Global horizontal irradiation
Statistics
Average | 4.25 | kWh/m²
Maximum | 5.52 | kWh/m²
Percentile 90 | 5.08 | kWh/m²
Percentile 75 | 4.88 | kWh/m²
Percentile 50 (Median) | 4.15 | kWh/m²
Percentile 25 | 3.65 | kWh/m²
Percentile 10 | 3.43 | kWh/m²
Minimum | 3.16 | kWh/m²

## GHI_dist
Global horizontal irradiation
Distribution
From [kWh/m²] | To [kWh/m²] | Percent [%]
2.8 | 3 | 0.0003
3 | 3.2 | 0.0083
3.2 | 3.4 | 0.0669
3.4 | 3.6 | 0.1282
3.6 | 3.8 | 0.1452
3.8 | 4 | 0.1027
4 | 4.2 | 0.0595
4.2 | 4.4 | 0.0384
4.4 | 4.6 | 0.0414
4.6 | 4.8 | 0.0961
4.8 | 5 | 0.1513
5 | 5.2 | 0.1294
5.2 | 5.4 | 0.0215
5.4 | 5.6 | 0.0086
5.6 | 5.8 | 0.002

## GHI_cdf
Global horizontal irradiation
Cumulative distribution function
From [kWh/m²] | To [kWh/m²] | Percent [%]
2.9 | 2.95 | 0.0001
2.95 | 3 | 0.0003
3 | 3.05 | 0.0008
3.05 | 3.1 | 0.0019
3.1 | 3.15 | 0.0042
3.15 | 3.2 | 0.0086
3.2 | 3.25 | 0.0157
3.25 | 3.3 | 0.0272
3.3 | 3.35 | 0.0462
3.35 | 3.4 | 0.0755
3.4 | 3.45 | 0.1133
3.45 | 3.5 | 0.1494
3.5 | 3.55 | 0.1771
3.55 | 3.6 | 0.2037
3.6 | 3.65 | 0.2466
3.65 | 3.7 | 0.2855
3.7 | 3.75 | 0.3173
3.75 | 3.8 | 0.349
3.8 | 3.85 | 0.3838
3.85 | 3.9 | 0.4095
3.9 | 3.95 | 0.4321
3.95 | 4 | 0.4517
4 | 4.05 | 0.4705
4.05 | 4.1 | 0.488
4.1 | 4.15 | 0.5008
4.15 | 4.2 | 0.5112
4.2 | 4.25 | 0.5209
4.25 | 4.3 | 0.5304
4.3 | 4.35 | 0.5402
4.35 | 4.4 | 0.5496
4.4 | 4.45 | 0.5597
4.45 | 4.5 | 0.5688
4.65 | 4.55 | 0.5775
4.55 | 4.6 | 0.591
4.6 | 4.65 | 0.6094
4.65 | 4.7 | 0.637
4.7 | 4.75 | 0.6598
4.75 | 4.8 | 0.6872
4.8 | 4.85 | 0.7262
4.85 | 4.9 | 0.7692
4.9 | 4.95 | 0.8051
4.95 | 5 | 0.8385
5 | 5.05 | 0.8753
5.05 | 5.1 | 0.9139
5.1 | 5.15 | 0.9458
5.15 | 5.2 | 0.9679
5.2 | 5.25 | 0.9785
5.25 | 5.3 | 0.983
5.3 | 5.35 | 0.9867
5.35 | 5.4 | 0.9893
5.4 | 5.45 | 0.9919
5.45 | 5.5 | 0.9941
5.5 | 5.55 | 0.9959
5.55 | 5.6 | 0.998
5.6 | 5.65 | 0.9992
5.65 | 5.7 | 0.9999
5.7 | 5.75 | 1
5.75 | 5.8 | 1
5.8 | 5.85 | 1

## DIF_stats
Diffuse horizontal irradiation
Statistics
Average | 2.29 | kWh/m²
Maximum | 2.53 | kWh/m²
Percentile 90 | 2.47 | kWh/m²
Percentile 75 | 2.37 | kWh/m²
Percentile 50 (Median) | 2.27 | kWh/m²
Percentile 25 | 2.2 | kWh/m²
Percentile 10 | 2.15 | kWh/m²
Minimum | 2.06 | kWh/m²

## DIF_dist
Diffuse horizontal irradiation
Distribution
From [kWh/m²] | To [kWh/m²] | Percent [%]
1.8 | 2 | 0.0007
2 | 2.2 | 0.24
2.2 | 2.4 | 0.5521
2.4 | 2.6 | 0.2073

## DIF_cdf
Diffuse horizontal irradiation
Cumulative distribution function
From [kWh/m²] | To [kWh/m²] | Percent [%]
1.9 | 1.95 | 0.0001
1.95 | 2 | 0.0007
2 | 2.05 | 0.0036
2.05 | 2.1 | 0.0199
2.1 | 2.15 | 0.0882
2.15 | 2.2 | 0.2406
2.2 | 2.25 | 0.4424
2.25 | 2.3 | 0.6192
2.3 | 2.35 | 0.719
2.35 | 2.4 | 0.7927
2.4 | 2.45 | 0.8658
2.45 | 2.5 | 0.9532
2.5 | 2.55 | 0.9994
2.55 | 2.6 | 1

## GTI_stats
Global tilted irradiation
Statistics
Average | 4.34 | kWh/m²
Maximum | 5.62 | kWh/m²
Percentile 90 | 5.2 | kWh/m²
Percentile 75 | 4.97 | kWh/m²
Percentile 50 (Median) | 4.26 | kWh/m²
Percentile 25 | 3.72 | kWh/m²
Percentile 10 | 3.5 | kWh/m²
Minimum | 3.21 | kWh/m²

## GTI_dist
Global tilted irradiation
Distribution
From [kWh/m²] | To [kWh/m²] | Percent [%]
2.8 | 3 | 0.0002
3 | 3.2 | 0.0043
3.2 | 3.4 | 0.0355
3.4 | 3.6 | 0.1281
3.6 | 3.8 | 0.1406
3.8 | 4 | 0.1002
4 | 4.2 | 0.0716
4.2 | 4.4 | 0.0592
4.4 | 4.6 | 0.0365
4.6 | 4.8 | 0.0731
4.8 | 5 | 0.1193
5 | 5.2 | 0.1346
5.2 | 5.4 | 0.08
5.4 | 5.6 | 0.0108
5.6 | 5.8 | 0.0056
5.8 | 6 | 0.0002

## GTI_cdf
Global tilted irradiation
Cumulative distribution function
From [kWh/m²] | To [kWh/m²] | Percent [%]
2.9 | 2.95 | 0.0001
2.95 | 3 | 0.0002
3 | 3.05 | 0.0004
3.05 | 3.1 | 0.0011
3.1 | 3.15 | 0.0022
3.15 | 3.2 | 0.0044
3.2 | 3.25 | 0.0085
3.25 | 3.3 | 0.0148
3.3 | 3.35 | 0.0246
3.35 | 3.4 | 0.04
3.4 | 3.45 | 0.0646
3.45 | 3.5 | 0.0995
3.5 | 3.55 | 0.1357
3.55 | 3.6 | 0.1681
3.6 | 3.65 | 0.1937
3.65 | 3.7 | 0.2308
3.7 | 3.75 | 0.2781
3.75 | 3.8 | 0.3087
3.8 | 3.85 | 0.3393
3.85 | 3.9 | 0.3689
3.9 | 3.95 | 0.3904
3.95 | 4 | 0.4089
4 | 4.05 | 0.4261
4.05 | 4.1 | 0.4447
4.1 | 4.15 | 0.4622
4.15 | 4.2 | 0.4805
4.2 | 4.25 | 0.498
4.25 | 4.3 | 0.5142
4.3 | 4.35 | 0.5287
4.35 | 4.4 | 0.5398
4.4 | 4.45 | 0.5499
4.45 | 4.5 | 0.5594
4.65 | 4.55 | 0.5679
4.55 | 4.6 | 0.5763
4.6 | 4.65 | 0.5873
4.65 | 4.7 | 0.604
4.7 | 4.75 | 0.6285
4.75 | 4.8 | 0.6494
4.8 | 4.85 | 0.673
4.85 | 4.9 | 0.6963
4.9 | 4.95 | 0.7349
4.95 | 5 | 0.7687
5 | 5.05 | 0.7982
5.05 | 5.1 | 0.8309
5.1 | 5.15 | 0.8645
5.15 | 5.2 | 0.9034
5.2 | 5.25 | 0.9362
5.25 | 5.3 | 0.9597
5.3 | 5.35 | 0.9773
5.35 | 5.4 | 0.9834
5.4 | 5.45 | 0.9871
5.45 | 5.5 | 0.9895
5.5 | 5.55 | 0.992
5.55 | 5.6 | 0.9942
5.6 | 5.65 | 0.9962
5.65 | 5.7 | 0.998
5.7 | 5.75 | 0.9992
5.75 | 5.8 | 0.9998
5.8 | 5.85 | 1
5.85 | 5.9 | 1
5.9 | 5.95 | 1

## TEMP_stats
Air temperature
Statistics
Average | 23.8 | °C
Maximum | 28.2 | °C
Percentile 90 | 27.4 | °C
Percentile 75 | 26.3 | °C
Percentile 50 (Median) | 23.8 | °C
Percentile 25 | 21.9 | °C
Percentile 10 | 20.1 | °C
Minimum | 14.9 | °C

## TEMP_dist
Air temperature
Distribution
From [°C] | To [°C] | Percent [%]
10 | 11 | 0.0001
11 | 12 | 0.0003
12 | 13 | 0.0008
13 | 14 | 0.0015
14 | 15 | 0.0026
15 | 16 | 0.0043
16 | 17 | 0.0078
17 | 18 | 0.0148
18 | 19 | 0.0236
19 | 20 | 0.0416
20 | 21 | 0.0649
21 | 22 | 0.1052
22 | 23 | 0.1214
23 | 24 | 0.1457
24 | 25 | 0.1297
25 | 26 | 0.0675
26 | 27 | 0.0758
27 | 28 | 0.1779
28 | 29 | 0.0146

## TEMP_cdf
Air temperature
Cumulative distribution function
From [°C] | To [°C] | Percent [%]
10.75 | 11 | 0.0001
11 | 11.25 | 0.0001
11.25 | 11.5 | 0.0002
11.5 | 11.75 | 0.0002
11.75 | 12 | 0.0003
12 | 12.25 | 0.0004
12.25 | 12.5 | 0.0007
12.5 | 12.75 | 0.0008
12.75 | 13 | 0.0012
13 | 13.25 | 0.0013
13.25 | 13.5 | 0.0018
13.5 | 13.75 | 0.002
13.75 | 14 | 0.0026
14 | 14.25 | 0.003
14.25 | 14.5 | 0.0038
14.5 | 14.75 | 0.0042
14.75 | 15 | 0.0053
15 | 15.25 | 0.0059
15.25 | 15.5 | 0.0071
15.5 | 15.75 | 0.0078
15.75 | 16 | 0.0095
16 | 16.25 | 0.0105
16.25 | 16.5 | 0.0128
16.5 | 16.75 | 0.0143
16.75 | 17 | 0.0173
17 | 17.25 | 0.0195
17.25 | 17.5 | 0.0239
17.5 | 17.75 | 0.0267
17.75 | 18 | 0.0321
18 | 18.25 | 0.0355
18.25 | 18.5 | 0.0423
18.5 | 18.75 | 0.0466
19.5 | 19 | 0.0558
19 | 19.25 | 0.062
19.25 | 19.5 | 0.0744
19.5 | 19.75 | 0.0821
19.75 | 20 | 0.0974
20 | 20.25 | 0.1072
20.25 | 20.5 | 0.1263
20.5 | 20.75 | 0.1386
20.75 | 21 | 0.1623
21 | 21.25 | 0.178
21.25 | 21.5 | 0.2089
21.5 | 21.75 | 0.2291
21.75 | 22 | 0.2675
22 | 22.25 | 0.2881
22.25 | 22.5 | 0.3255
22.5 | 22.75 | 0.348
22.75 | 23 | 0.3889
23 | 23.25 | 0.4135
23.25 | 23.5 | 0.4591
23.5 | 23.75 | 0.4855
23.75 | 24 | 0.5346
24 | 24.25 | 0.5704
24.25 | 24.5 | 0.6229
24.5 | 24.75 | 0.6381
24.75 | 25 | 0.6642
25 | 25.25 | 0.6764
25.25 | 25.5 | 0.6959
25.5 | 25.75 | 0.7096
25.75 | 26 | 0.7318
26 | 26.25 | 0.7437
26.25 | 26.5 | 0.7676
26.5 | 26.75 | 0.7842
26.75 | 27 | 0.8076
27 | 27.25 | 0.8357
27.25 | 27.5 | 0.9203
27.5 | 27.75 | 0.9494
27.75 | 28 | 0.9854
28 | 28.25 | 0.9957
28.25 | 28.5 | 1

## OPTA_stats
Optimum tilt of PV modules
Statistics
Average | 13 | °
Maximum | 22 | °
Percentile 90 | 18 | °
Percentile 75 | 15 | °
Percentile 50 (Median) | 13 | °
Percentile 25 | 11 | °
Percentile 10 | 9 | °
Minimum | 7 | °

## OPTA_dist
Optimum tilt of PV modules
Distribution
From [°] | To [°] | Percent [%]
4 | 5 | 0.0002
5 | 6 | 0.0014
6 | 7 | 0.01
7 | 8 | 0.0513
8 | 9 | 0.0822
9 | 10 | 0.0718
10 | 11 | 0.0877
11 | 12 | 0.1056
12 | 13 | 0.1363
13 | 14 | 0.1579
14 | 15 | 0.1087
15 | 16 | 0.0426
16 | 17 | 0.0268
17 | 18 | 0.0207
18 | 19 | 0.0296
19 | 20 | 0.0241
20 | 21 | 0.0278
21 | 22 | 0.0142
22 | 23 | 0.0011

## OPTA_cdf
Optimum tilt of PV modules
Cumulative distribution function
From [°] | To [°] | Percent [%]
4.75 | 5 | 0.0002
5.75 | 6 | 0.0016
6.75 | 7 | 0.0116
7.75 | 8 | 0.0629
8.75 | 9 | 0.1451
9.75 | 10 | 0.2168
10.75 | 11 | 0.3045
11.75 | 12 | 0.4102
12.75 | 13 | 0.5465
13.75 | 14 | 0.7044
14.75 | 15 | 0.8131
15.75 | 16 | 0.8557
16.75 | 17 | 0.8825
17.75 | 18 | 0.9032
18.75 | 19 | 0.9328
19.75 | 20 | 0.9569
20.75 | 21 | 0.9847
21.75 | 22 | 0.9989
22.75 | 23 | 1

## ELE_stats
Terrain elevation
Statistics
Average | 388 | m
Maximum | 3143 | m
Percentile 90 | 989 | m
Percentile 75 | 628 | m
Percentile 50 (Median) | 249 | m
Percentile 25 | 27 | m
Percentile 10 | 3 | m
Minimum | 0 | m

## ELE_dist
Terrain elevation
Distribution
From [m] | To [m] | Percent [%]
-200 | 0 | 0.0103
0 | 200 | 0.4492
200 | 400 | 0.1498
400 | 600 | 0.1248
600 | 800 | 0.1008
800 | 1000 | 0.0681
1000 | 1200 | 0.0423
1200 | 1400 | 0.025
1400 | 1600 | 0.0153
1600 | 1800 | 0.0068
1800 | 2000 | 0.0036
2000 | 2200 | 0.0021
2200 | 2400 | 0.0012
2400 | 2600 | 0.0005
2600 | 2800 | 0.0001

## ELE_cdf
Terrain elevation
Cumulative distribution function
From [m] | To [m] | Percent [%]
-50 | 0 | 0.0103
0 | 50 | 0.293
50 | 100 | 0.361
100 | 150 | 0.4136
150 | 200 | 0.4595
200 | 250 | 0.5012
250 | 300 | 0.5385
300 | 350 | 0.5746
350 | 400 | 0.6093
400 | 450 | 0.6434
450 | 500 | 0.6759
500 | 550 | 0.7053
550 | 600 | 0.7341
600 | 650 | 0.7627
650 | 700 | 0.7889
700 | 750 | 0.8133
750 | 800 | 0.8349
800 | 850 | 0.8549
850 | 900 | 0.8731
900 | 950 | 0.8889
950 | 1000 | 0.903
1000 | 1050 | 0.916
1050 | 1100 | 0.9267
1100 | 1150 | 0.9366
1150 | 1200 | 0.9454
1200 | 1250 | 0.9529
1250 | 1300 | 0.9598
1300 | 1350 | 0.9653
1350 | 1400 | 0.9704
1400 | 1450 | 0.9752
1450 | 1500 | 0.9794
1500 | 1550 | 0.983
1700 | 1600 | 0.9857
1600 | 1650 | 0.9879
1650 | 1700 | 0.9897
1700 | 1750 | 0.9913
1750 | 1800 | 0.9926
1800 | 1850 | 0.9937
1850 | 1900 | 0.9946
1900 | 1950 | 0.9954
1950 | 2000 | 0.9961
2000 | 2050 | 0.9968
2050 | 2100 | 0.9973
2100 | 2150 | 0.9978
2150 | 2200 | 0.9982
2200 | 2250 | 0.9986
2250 | 2300 | 0.9989
2300 | 2350 | 0.9991
2350 | 2400 | 0.9994
2400 | 2450 | 0.9995
2450 | 2500 | 0.9997
2500 | 2550 | 0.9998
2550 | 2600 | 0.9999
2600 | 2650 | 0.9999
2650 | 2700 | 0.9999
2700 | 2750 | 1
2750 | 2800 | 1
2800 | 2850 | 1
2850 | 2900 | 1

## Glossary
Acronyms and glossary
Acronym | Full name | Unit | Type of use
DIF | Diffuse horizontal irradiation | kWh/m², MJ/m² | Average yearly, monthly or daily sum of diffuse horizontal irradiation (© 2025 Solargis)
DNI | Direct normal irradiation | kWh/m², MJ/m² | Average yearly, monthly or daily sum of direct normal irradiation (© 2025 Solargis)
ELE | Terrain elevation | m, ft | Elevation of terrain surface above/below sea level, processed and integrated from SRTM-3 data and related data products (SRTM v4.1 © 2004 - 2025, CGIAR-CSI)
GHI | Global horizontal irradiation | kWh/m², MJ/m² | Average annual, monthly or daily sum of global horizontal irradiation (© 2025 Solargis)
GTI | Global tilted irradiation | kWh/m², MJ/m² | Average annual, monthly or daily sum of global tilted irradiation (© 2025 Solargis)
GTI opta | Global tilted irradiation at optimum angle | kWh/m², MJ/m² | Average annual, monthly or daily sum of global tilted irradiation for PV modules fix-mounted at optimum angle (© 2025 Solargis)
OPTA | Optimum tilt of PV modules | ° | Optimum tilt of fix-mounted PV modules facing towards Equator set for maximizing GTI input (© 2025 Solargis)
PVOUT_specific | Specific photovoltaic power output | kWh/kWp | Yearly and monthly average values of photovoltaic electricity (AC) delivered by a PV system and normalized to 1 kWp of installed capacity (© 2025 Solargis)
PVOUT_total | Total photovoltaic power output | kWh, MWh, GWh | Yearly and monthly average values of photovoltaic electricity (AC) delivered by the total installed capacity of a PV system (© 2025 Solargis)
TEMP | Air temperature | °C, °F | Average yearly, monthly and daily air temperature at 2 m above ground. Calculated from outputs of ERA5 model (© 2025 ECMWF, post-processed by Solargis)